Fire Safety Policy

Tetris Uk Sales & Lettings Limited have set out this Fire Safety Policy to ensure the health, safety and welfare of our tenants are considered at all times. Under The Regulatory Reform (Fire Safety) Order 2005 (“Fire Safety Order”), it is our legal and moral duty as a responsible landlord to ensure we provide a safe and healthy living environment and to ensure the safety and welfare of our tenants, visitors and contractors at all times and as such we expect all tenants to comply with this policy.

The aim of this Fire Safety Policy is to ensure we manage fire risk to protect tenants and landlord premises, to meet requirements of the Fire Safety Order 2005.

Landlord responsibilities:

- Write and keep updated a Fire Safety Risk Assessment, a Fire Safety Policy, a Fire Safety Evacuation Procedures and make all information available to our tenants

- Implement a Fire Safety Policy to minimise fire risk

- Keep up to date records of our fire safety management practises

- Implement preventative action and procedures to reduce the risk of fire outbreak

- Provide means of escape for all tenants, visitors and contractors

- Implement procedures that would control the spread of fire should it outbreak

- Ensure the landlord is compliant with all legal obligations expected of him/her

- Ensure that tenants, visitors and contractors have easy access to fire escapes

- Ensure that all fire escapes, fire doors, emergency equipment, fire alarms and emergency lights are fully operational and maintained at all times

- Ensure access to fire escapes, fire doors and emergency equipment is kept clear at all times

All tenants are responsible for the following:

- Reading the Emergency Evacuation Plan and in the event of a fire, following all the steps outlined in the Plan

- Report any defective, missing or inaccessible fire emergency equipment to the landlord

- Report any inaccessible fire escapes or fire doors

- To not block fire exits or store personal belongings within the escape stairwell

- To not smoke tobacco or e-cigs in the property

- To not use candles or incense burners

- To not wedge open fire doors or modify them in any way

- To not use portable heaters unless approved by the landlord

- To not interfere with the fire alarm system in any way and report all false alarms to the landlord.

FIRE SAFETY MANAGEMENT STRUCTURE

| The person with the overall responsibility for fire safety:- Planning: Structure of organisation Organisation: Setting objectives, policy and procedures Control: Identify person responsible to tasks / actions Monitoring: Checks and the implementation of standards Review: Reviews of fire safety performance standards |  | Responsible Person: Tetris Uk Sales & Lettings Limited |
| --- | --- | --- |
| The person with responsibility for fire safety risk assessment: - Carrying out fire safety risk assessment - Review of fire safety risk assessments | Competent Person: |
|  | Tetris Uk Sales & Lettings Limited |
| The person with responsibility for the maintenance programme: - Fire detection and warning system - Emergency lighting - Escape routes - Fire safety signs and notices - Fire resisting walls, partitions and doors - Fire fighting facilities - Electrical appliances and premises installations | Competent Person: Tetris Uk Sales & Lettings Limited |
| The person with responsibility for developing and reviewing the premises Fire Safety Management Plan which details the procedures to be taken by all tenants, visitors, members of the public, service users and all relevant person in the event of fire. | Competent Person: Tetris Uk Sales & Lettings Limited |
| The person with responsibility for engaging with tenants on matters of fire safety: - What to do in the event of fire - What to do upon hearing the fire alarm - The reason for good housekeeping practices etc | Competent Person: Tetris Uk Sales & Lettings Limited |